|  |  |  |
| --- | --- | --- |
| Anchor Point Safety  31 Young Street  West Gosford  NSW, 2250  ABN : 63 106 480 639 | Debbie Logo with r | Ph: 1800 007 454  Email:admin@anchorpointsafety.com.au  Website:www.anchorpointsafety.com.au |

**Installation Certificate 021215/1**

04057

|  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Client** | | Strata Plan 52948 | | | | | | | | |
| **Location** | | Cnr Fontenoy Road and Lane Cove Road Macquarie Park | | | | | | | | |
| **Product** | | Roof Safety | | | **Installed date** | | | | 29/11/2015 | |
| The above project is offered for hand-over to the customer.  The following associated items are also provided: 041057 | | | | | | | | | | |
| Drawings **Manuals**  **Spare parts**  **Training**  **Other** | | | N/A | | | | | | | |
| N/A | | | | | | | |
| N/A | | | | | | | |
| N/A | | | | | | | |
|  | | | | | | | |
| The Compliance period will commence from the above completion date and expire on: | | | | | | | 28/11/2016 | | | |
| **NOTE. Compliance. At the time of inspection.**   * Anchors were inspected in accordance with Australian Standard 1891/4, 2009 & Workcover Acts and Regulations, Codes of Practice and accepted industry mode of installation. * Anchors comply with all requirements and are rated as Limited Free Fall   12kns  .   * Roof Anchors should be inspected prior to use by the operator and at regular intervals not greater than twelve months by a competent person. * All operators should be competent in working at height and with safety equipment. | | | | | | | | | | |
| **No.** | **Items installed or inspected** | | | | | | | **Date** | |  |
| 1 | Concrete Anchor Points | | | | | | | 29/11/2015 | |  |
|  | \\FILESERVER\File Server Data\Aps\APS - Forms & Stationery\PF Signature11072014.jpg | | | | | | |  | |  |
|  |  | | | | | | |  | |  |
| **Anchor Point Safety** | | | |  | | **Date** | | 2/12/2015 | | |